## CR1-PPCB-Water Quality
Sr No | River | District | Sampling Station | Baseline ( March, 19) |  |  |  | Current Month (April, 2019) |  |  |  | Reason for Improvement/ Degradation of Water Quality
|  |  |  | DO (mg/l) | BOD (mg/l) | TC (MPN/ 100ml) | Class | DO (mg/l) | BOD (mg/l) | TC (MPN/ 100ml) | Class
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
1 | Sutlej |  | U/S Nangal | 9.6 | <1 | 120 | B
2 | Sutlej |  | D/S NFL | 8.8 | <1 | 210 | B
3 | Sutlej |  | 100m D/S PACL Nangal | 8.9 | <1 | 220 | B
4 | Sutlej |  | D/S Nangal | 9 | <1 | 140 | B
5 | Sutlej |  | Kiratpur Sahib | 8 | <1 | 790 | C
6 | Sutlej |  | Ropar Head-Works | 7.8 | <1 | 930 | C
7 | Sutlej |  | D/S of Rishab- Paper Mills | 7.4 | <1 | 1100 | C
8 | Sutlej |  | U/S Buddha Nallah | 6.8 | 2 | 1700 | C
9 | Sutlej |  | 100 m D/S Budha Nallah confluence | 1.4 | 105 | 460000 | E
10 | Sutlej |  | Boat Bridge, Dharamkot Nakodar Road | 4.2 | 10 | 150000 | D
11 | Sutlej |  | D/S East Bein | 1.5 | 15 | 17000 | E
12 | Sutlej |  | Harike | 5.4 | 3.2 | 9400 | D
13 | Sutlej |  | Harike Lake D/S from canal | 8.8 | 1.8 | 3500 | C
14 | Sutlej |  | D/S Harike lake | 8.6 | 1.6 | 4300 | C
15 | Sutlej |  | U/S Hussainiwala H/W Ferozepur | 8.2 | <1 | 2100 | C
16 | Sutlej |  | D/S Hussainiwala H/W Ferozepur | 8 | <1 | 1700 | C
17 | Beas |  | Talwara H/W | 8.7 | BDL | 79 | B
18 | Beas |  | Mirthal Bridge Gurdaspur | 8.9 | 1 | 94 | B
19 | Beas |  | U/S Pathankot | 8.7 | 1 | 170 | B
20 | Beas |  | D/S Pathankot | 8.2 | 1.3 | 580 | C
21 | Beas |  | 1km D/S effluent discharge point at Mukerian | 7.9 | 1.8 | 630 | C
22 | Beas |  | Bridge at village Bheate Patan Tehsil Batala Distt. Gurdaspur | 7.8 | 1.7 | 330 | B
23 | Beas |  | G.T. Road, under Bridge Near Kapurthala | 8.1 | 1.6 | 350 | B
24 | Beas |  | U/S Goindwal | 8.4 | 1.4 | 280 | B
25 | Beas |  | D/S Goindwal | 8.2 | 1.4 | 310 | B
26 | Beas |  | Harike | 8.3 | 1.4 | 280 | B
27 | Ghaggar |  | Mubarikpur Rest house | 4.9 | 6 | 22000 | D
28 | Ghaggar |  | Bhankarpur | 4.4 | 17 | 24000 | D
29 | Ghaggar |  | Chattbir | 3.8 | 20 | 22000 | E
30 | Ghaggar |  | U/S Jharmal Nadi | 4 | 10 | 17000 | D
31 | Ghaggar |  | D/S Jharmal Nadi | 3.2 | 16 | 21000 | E
32 | Ghaggar |  | U/S Dhakanshu Nallah | 4 | 11 | 15000 | D
33 | Ghaggar |  | D/S Dhakanshu Nallah | 3.2 | 14 | 24000 | E
34 | Ghaggar |  | Rattanheri | 2.2 | 15 | 24000 | E
35 | Ghaggar |  | U/S Sagar para Drain | 4.1 | 16 | 24000 | D
36 | Ghaggar |  | D/S Sagar para Drain | 2.8 | 35 | 28000 | E
37 | Ghaggar |  | Khanauri | 3 | 17 | 21000 | E
38 | Ghaggar |  | Moonak | 2.8 | 15 | 22000 | E
39 | Ghaggar |  | U/S Sardulgarh | 3.5 | 13 | 21000 | E
40 | Ghaggar |  | D/S Sardulgarh | 3.1 | 18 | 24000 | E

## CR-2-PPCB-RTWQMS
Sr. No | River | Location | Fund Requirement (Rs. in crore) | Baseline (March 2019) (Target date for completion of various Milestones) |  |  | Current Status i.e. Date of completion or likely date of Completion of the Milestones
|  |  |  | Preparation of DPR | Tendering | Installation & Commissioning | Preparation of DPR | Tendering | Installation & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1 | Sutlej | Ropar Headworks |  | 31.05.19 | 30.09.19 | 31.03.20
2 | Sutlej | D/S Budha Nallah |  | 31.05.19 | 30.09.19 | 31.03.20
3 | Sutlej | D/S East Bein |  | 31.05.19 | 30.09.19 | 31.03.20
4 | Sutlej | Harike Lake (Rajesthan Feeder) |  | 31.05.19 | 30.09.19 | 31.03.20
5 | Beas | Mukerian |  | 31.05.19 | 30.09.19 | 31.03.20
6 | Beas | Tanda |  | 31.05.19 | 30.09.19 | 31.03.20
7 | Beas | Harike Lake (Ferozepur Feeder) |  | 31.05.19 | 30.09.19 | 31.03.20
8 | Ghaggar | Bhankharpur Bridge |  | 31.05.19 | 30.09.19 | 31.03.20
9 | Ghaggar | D/S Patiala Nadi |  | 31.05.19 | 30.09.19 | 31.03.20
10 | Ghaggar | D/S Sangarpara Drain |  | 31.05.19 | 30.09.19 | 31.03.20
11 | Ghaggar | D/S Sardulgarh |  | 31.05.19 | 30.09.19 | 31.03.20

## CR3-PPCB-STP Results
Sr. No. | River | District | Name of Town | Concerned Regional Office | Concerned Deptt. | Cap. (MLD) | Tech. | Discharge Standards |  |  |  | Results for the Current Month
[8 empty] | pH | BOD (mg/l) | TSS (mg/l) | FC (MPN/ 100ml) | pH | BOD (mg/l) | TSS (mg/l) | FC (MPN/ 100ml)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | Sutlej |  | Jamalpur |  | MCL | 48 | UASB | 6.5-9 | 30 | 100 | 1000
2 | Sutlej |  | Bhattian |  | MCL | 111 | UASB | 6.5-9 | 30 | 100 | 1000
3 | Sutlej |  | Bhattian |  | MCL | 50 | SBR | 6.5-9 | 30 | 100 | 1000
4 | Sutlej |  | Balloke |  | MCL | 152 | UASB | 6.5-9 | 30 | 100 | 1000
5 | Sutlej |  | Balloke |  | MCL | 105 | SBR | 6.5-9 | 30 | 100 | 1000
6 | Sutlej |  | Pholriwal |  | MCJ | 100 | UASB | 6.5-9 | 30 | 100 | 1000
7 | Sutlej |  | Pholriwal |  | MCJ | 25 | SBR | 6.5-9 | 30 | 100 | 1000
8 | Sutlej |  | Pholriwal |  | MCJ | 25 | SBR | 6.5-9 | 30 | 100 | 1000
9 | Sutlej |  | Basti Peer Dad |  | MCJ | 50 | SBR | 6.5-9 | 30 | 100 | 1000
10 | Sutlej |  | Bambian Wali Cantt |  | MCJ | 10 | SBR | 6.5-9 | 30 | 100 | 1000
11 | Sutlej |  | Jaitawali |  | MCJ | 25 | SBR | 6.5-9 | 30 | 100 | 1000
12 | Sutlej |  | Phagwara |  | PWSSB | 20 | UASB | 6.5-9 | 30 | 100 | 1000
13 | Sutlej |  | Phagwara |  | PWSSB | 8 | MBBR | 6.5-9 | 30 | 100 | 1000
14 | Sutlej |  | Phagwara |  | PWSSB | 8 | MBBR | 6.5-9 | 30 | 100 | 1000
15 | Sutlej |  | Phillaur |  | PWSSB | 3 | MBBR | 6.5-9 | 30 | 100 | 1000
16 | Sutlej |  | Phillaur |  | PWSSB | 2.6 | WSP | 6.5-9 | 30 | 100 | 1000
17 | Sutlej |  | Nakodar |  | PWSSB | 6 | SBR | 6.5-9 | 30 | 100 | 1000
18 | Sutlej |  | Nawashahar |  | PWSSB | 6 | SBR | 6.5-9 | 30 | 100 | 1000
19 | Sutlej |  | Banga |  | PWSSB | 3 | SBR | 6.5-9 | 30 | 100 | 1000
20 | Sutlej |  | Hoshiarpur |  | PWSSB | 30 | MBBR | 6.5-9 | 30 | 100 | 1000
21 | Sutlej |  | Nangal |  | PWSSB | 8 | ASP | 6.5-9 | 30 | 100 | 1000
22 | Sutlej |  | Bruari Nangal |  | PWSSB | 5 | ASP | 6.5-9 | 30 | 100 | 1000
23 | Sutlej |  | Machhiwada |  | PWSSB | 4 | SBR | 6.5-9 | 30 | 100 | 1000
24 | Sutlej |  | Sahnewal |  | PWSSB | 7 | SBR | 6.5-9 | 30 | 100 | 1000
25 | Sutlej |  | Ropar |  | PWSSB | 10 | SBR | 6.5-9 | 30 | 100 | 1000
26 | Sutlej |  | Ropar |  | PWSSB | 2.5 | SBR | 6.5-9 | 30 | 100 | 1000
27 | Sutlej |  | Ropar |  | PWSSB | 2 | SBR | 6.5-9 | 30 | 100 | 1000
28 | Sutlej |  | Jagraon |  | PWSSB | 12 | SBR | 6.5-9 | 30 | 100 | 1000
29 | Sutlej |  | Jagraon |  | PWSSB | 16 | SBR | 6.5-9 | 30 | 100 | 1000
30 | Sutlej |  | Goniana |  | PWSSB | 3 | WSP | 6.5-9 | 30 | 100 | 1000
31 | Sutlej |  | Moga |  | PWSSB | 27 | SBR | 6.5-9 | 30 | 100 | 1000
32 | Sutlej |  | Abohar |  | PWSSB | 25 | SBR | 6.5-9 | 30 | 100 | 1000
33 | Sutlej |  | Malout |  | PWSSB | 3 | WSP | 6.5-9 | 30 | 100 | 1000
34 | Sutlej |  | Malout |  | PWSSB | 10 | MBBR | 6.5-9 | 30 | 100 | 1000
35 | Sutlej |  | Dharamkot |  | PWSSB | 4 | SBR | 6.5-9 | 30 | 100 | 1000
36 | Sutlej |  | Makhu |  | PWSSB | 4 | SBR | 6.5-9 | 30 | 100 | 1000
37 | Sutlej |  | Talwandi Bhai |  | PWSSB | 4 | SBR | 6.5-9 | 30 | 100 | 1000
38 | Sutlej |  | Zira |  | PWSSB | 8 | MBBR | 6.5-9 | 30 | 100 | 1000
39 | Sutlej |  | Jalalabad |  | MC | 8 | MBBR | 6.5-9 | 30 | 100 | 1000
40 | Sutlej |  | Muktsar Sahib |  | DWSS | 8.7 | MBBR | 6.5-9 | 30 | 100 | 1000
41 | Sutlej |  | Muktsar Sahib |  | DWSS | 5.7 | MBBR | 6.5-9 | 30 | 100 | 1000
42 | Sutlej |  | Muktsar Sahib |  | DWSS | 3.5 | MBBR | 6.5-9 | 30 | 100 | 1000
43 | Sutlej |  | Anandpur Sahib |  | DWSS | 8 | MBBR | 6.5-9 | 30 | 100 | 1000
44 | Sutlej |  | Kurali |  | GMADA | 5 | SBR | 6.5-9 | 30 | 100 | 1000
45 | Sutlej |  | Nangal |  | BBMB | 6.7 | ASP | 6.5-9 | 30 | 100 | 1000
46 | Sutlej |  | East Jalndhar Cantt |  | MES | 3 | MBBR | 6.5-9 | 30 | 100 | 1000
47 | Sutlej |  | East Jalndhar Cantt |  | MES | 3 | MBBR | 6.5-9 | 30 | 100 | 1000
48 | Sutlej |  | East Jalndhar Cantt |  | MES | 0.4 | MBBR | 6.5-9 | 30 | 100 | 1000
49 | Sutlej |  | West Jalandhar Cantt |  | MES | 1.5 | MBBR | 6.5-9 | 30 | 100 | 1000
50 | Sutlej |  | West Jalandhar Cantt |  | MES | 1.5 | MBBR | 6.5-9 | 30 | 100 | 1000
51 | Beas |  | Pathankot |  | PWSSB | 27 | SBR | 6.5-9 | 30 | 100 | 1000
52 | Beas |  | Sri Hargobindpur |  | PWSSB | 1 | WSP | 6.5-9 | 30 | 100 | 1000
53 | Beas |  | Mukerian |  | PWSSB | 5 | MBBR | 6.5-9 | 30 | 100 | 1000
54 | Beas |  | Tanda |  | PWSSB | 4 | MBBR | 6.5-9 | 30 | 100 | 1000
55 | Beas |  | Begowal |  | PWSSB | 2.5 | SBR | 6.5-9 | 30 | 100 | 1000
56 | Beas |  | Bholath |  | PWSSB | 4 | WSP | 6.5-9 | 30 | 100 | 1000
57 | Beas |  | Dasuya |  | MC | 4 | WSP | 6.5-9 | 30 | 100 | 1000
58 | Beas |  | Kapurthala |  | MC | 25 | UASB | 6.5-9 | 30 | 100 | 1000
59 | Beas |  | Sultanpur Lodhi |  | MC | 2.6 | WSP | 6.5-9 | 30 | 100 | 1000
60 | Beas |  | Sham Chuarasi |  | MC | 1 | WSP | 6.5-9 | 30 | 100 | 1000
61 | Beas |  | Talwara |  | BBMB | 8 | SBR | 6.5-9 | 30 | 100 | 1000
62 | Beas |  | GE, Air Force |  | MES | 3 | MBBR | 6.5-9 | 30 | 100 | 1000
63 | Beas |  | GE, South |  | MES | 2 | MBBR | 6.5-9 | 30 | 100 | 1000
64 | Beas |  | GE, West |  | MES | 2 | MBBR | 6.5-9 | 30 | 100 | 1000
65 | Beas |  | GE, Mammon |  | MES | 2 | MBBR | 6.5-9 | 30 | 100 | 1000
66 | Beas |  | GE, North |  | MES | 2 | MBBR | 6.5-9 | 30 | 100 | 1000
67 | Ghaggar |  | Banur |  | PWSSB | 4 | MBBR | 6.5-9 | 30 | 100 | 1000
68 | Ghaggar |  | Baretta |  | PWSSB | 3 | WSP | 6.5-9 | 30 | 100 | 1000
69 | Ghaggar |  | Bhikhi |  | PWSSB | 3 | WSP | 6.5-9 | 30 | 100 | 1000
70 | Ghaggar |  | Budhlada |  | PWSSB | 6.5 | MBBR | 6.5-9 | 30 | 100 | 1000
71 | Ghaggar |  | Khanauri |  | PWSSB | 3 | SBR | 6.5-9 | 30 | 100 | 1000
72 | Ghaggar |  | Lehragaga |  | PWSSB | 4 | SBR | 6.5-9 | 30 | 100 | 1000
73 | Ghaggar |  | Mandi Gobindgarh |  | PWSSB | 25 | SBR | 6.5-9 | 30 | 100 | 1000
74 | Ghaggar |  | Moonak |  | PWSSB | 3 | SBR | 6.5-9 | 30 | 100 | 1000
75 | Ghaggar |  | Patran |  | PWSSB | 4 | SBR | 6.5-9 | 30 | 100 | 1000
76 | Ghaggar |  | Samana |  | PWSSB | 10 | SBR | 6.5-9 | 30 | 100 | 1000
77 | Ghaggar |  | Sardulgarh |  | PWSSB | 4 | WSP | 6.5-9 | 30 | 100 | 1000
78 | Ghaggar |  | Sunam |  | PWSSB | 8 | MBBR | 6.5-9 | 30 | 100 | 1000
79 | Ghaggar |  | Zirakpur |  | PWSSB | 17 | SBR | 6.5-9 | 30 | 100 | 1000
80 | Ghaggar |  | Rajpura |  | PWSSB | 7 | SBR | 6.5-9 | 30 | 100 | 1000
81 | Ghaggar |  | Rajpura |  | PWSSB | 10 | SBR | 6.5-9 | 30 | 100 | 1000
82 | Ghaggar |  | Mohali |  | GMADA | 45.4 | UASB | 6.5-9 | 30 | 100 | 1000
83 | Ghaggar |  | Lalru |  | GMADA | 1.5 | SBR | 6.5-9 | 30 | 100 | 1000
84 | Ghaggar |  | Patiala |  | MC | 46 | SBR | 6.5-9 | 30 | 100 | 1000
85 | Ghaggar |  | Patiala |  | MC | 10 | SBR | 6.5-9 | 30 | 100 | 1000
86 | Ghaggar |  | Patiala |  | PUDA | 13 | FAB | 6.5-9 | 30 | 100 | 1000

## CR4-PPCB-Non Compliant STPs
Sr. No. | River | Name of Town | Concerned Deptt. | Cap. (MLD) | Tech. | PPCB Results |  | Action Taken in Case of Non Compliance in March, 2019 |  |  |  | Action Taken in Case of Non Compliance in April, 2019
[6 empty] | March, 19 | April, 19 | Encashment of Performance Bank Gaurantee/ Env. Compensation | New Performance Bank Gaurantee/ Env. Compensation | Cases Filed without Penality | Cases filed for prosecution | Encashment of Performance Bank Gaurantee/ Env. Compensation | New Performance Bank Gaurantee/ Env. Compensation | Cases Filed without Penality | Cases filed for prosecution
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16

## CR5-Local Govt-Existing STP.
Sr. No. | River | Name of Town | District | Deptt. | Cap. (MLD) | Actual Discharge received (MLD) | Quantity of Wastewater treated (MLD) | Tech. | Design Parameters |  |  | Baseline (March, 19) Results by PPCB |  |  | PPCB Results for the current Month |  |  | Sr. No | Name of Town | Reasons for Non-Compliance | [5 empty] | Payment made to Operator upto Month | Penalty deducted from Operator Payment for Non Compliance | Responsible Officer | Timeline to achieve prescribed standards in case of non-compliance
[9 empty] | BOD (mg/l) | TSS (mg/l) | FC (MPN/ 100ml) | BOD (mg/l) | TSS (mg/l) | FC (MPN/ 100ml) | BOD (mg/l) | TSS (mg/l) | FC (MPN/ 100ml) |  |  | Lack of O&M funds | Component Breakdown | Non-availability of Power | Non-availability of Chlorine | Lack of Skilled Manpower | Any other reason
1 | 2 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31

## CR6-Existing STP-Sludge
Sr. No. | Sr. No | Location of STP | Capacity (MLD) | Present Capacity at which STP is operated (MLD) | Tech. | Quantity of Sludge Greneration as per design of STP from Aeration Tank (m3/day) | Quantity of Sludge recirculated/wasted (m3/day) |  | Actual Quanity of Sludge Genreated after de-watering for disposal during the Month (Kg) | Quantity of Sludge disposed off out of t he quantity generated during the month and where the same has been disposed off (Kg) | Balanace Quantity of sludge lying in the premises of STP of previous Month (Kg) | Balance quantity of Sludge lying at the STP at end of Month (Kg)
[7 empty] | Recirculated | Wasted
1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12=(9+11)-10

## CR7- PPCB-CETP
Sr. No | Name of CETP | District | Cap. (MLD) | Concerned RO | Flow (MLD) | No. of Member Units | Discharge Standards | [9 empty] | Results | [9 empty] | Observation during visit
[7 empty] | pH | BOD | TDS | Sulphide | Iron | Zinc | Nickel | Total Chrome | Chrome+6 | Total Metals | pH | BOD | TDS | Sulphide | Iron | Zinc | Nickel | Total Chrome | Chrome+6 | Total Metals
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28

## CR8- PPCB- Non Compliant CETP
Sr. No. | Name of CETP | Cap. (MLD) | PPCB Results |  | Action Taken in Case of Non Compliance in March, 2019 |  |  |  | Action Taken in Case of Non Compliance in April, 2019
|  |  | March, 19 | April, 19 | Encashment of Performance Bank Gaurantee/ Env. Compensation | New Performance Bank Gaurantee/ Env. Compensation | Cases Filed without Penality | Cases filed for prosecution | Encashment of Performance Bank Gaurantee/ Env. Compensation | New Performance Bank Gaurantee/ Env. Compensation | Cases Filed without Penality | Cases filed for prosecution
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13

## CR9-PPCB-ETP
Sr. No. | River | District | Concerned RO | Name of Industry | Capacity of ETP | Consented Discharge | Actual Discharge | Discharge Standards |  |  |  | Results |  |  |  | Observations during visit
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## CR10-PPCB-ETP Inspection-SEE
Sr. No. | River | District | Name of Industry | Type of Industry (Dyeing/Washing/Paper Mill etc.) | Discharge Standards |  |  |  | Results |  |  |  | Whether the results are conformity with RO results | Comments in case deviation in Results
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## CR11-PPCB-ETP Inspection-CEE
Sr. No. | River | District | Name of Industry | Type of Industry (Dyeing/Washing/Paper Mill etc.) | Discharge Standards |  |  |  | Results |  |  |  | Whether the results are conformity with RO results | Comments in case deviation in Results
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## CR12-PPCB-ETP Inspection -Chair
Sr. No. | River | District | Name of Industry | Type of Industry (Dyeing/Washing/Paper Mill etc.) | Discharge Standards |  |  |  | Results |  |  |  | Whether the results are conformity with RO results | Comments in case deviation in Results
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## CR 13- PPCB- Non Compliant ETPs
Sr. No. | River | Name of Industry | PPCB Results |  | Action Taken in Case of Non Compliance in March, 2019 |  |  |  | Action Taken in Case of Non Compliance in April, 2019
|  |  | March, 19 | April, 19 | Encashment of Performance Bank Gaurantee/ Env. Compensation | New Performance Bank Gaurantee/ Env. Compensation | Cases Filed without Penality | Cases filed for prosecution | Encashment of Performance Bank Gaurantee/ Env. Compensation | New Performance Bank Gaurantee/ Env. Compensation | Cases Filed without Penality | Cases filed for prosecution
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13

## CR14- New STPs
Sr. No. | River | District | Name of STP | Concerned Deptt. | Cap. (MLD) | Tech. | Status of Funds |  | Baseline Target Dates as per Action Plan (March 19) |  |  |  | Current Status i.e Date of completion or likely date of completion |  |  |  | Reason in case of delay | Responsible Officer
[7 empty] | Tied Up | Not Tied Up | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19

## CR15 -PPCB- New CETP
Sr. No. | Location of CETP | No. of Member Units | Cap. (MLD) | Fund Requirement | Baseline (March, 2019) |  |  |  | Current progress i.e Date of completion or likely date of completion |  |  |  | Reasons for delay | Action Taken
[5 empty] | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15

## CR16-MCL- New ETP-Biogas Plant
S. No. | Description of ETP | Cap. (MLD) | Status of Funds |  | Baseline (March 19) |  |  |  | Current Progress i.e Date of Completion or likely date of completion |  |  |  | Reasos for delay
|  |  | Tied Up | Not Tied Up | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14

## CR17- MCJ-Dairy ETP
S. No. | Description of ETP | Cap. (MLD) | Status of Funds |  | Baseline (March 19) |  |  |  | Current Progress i.e Date of Completion or likely date of completion |  |  |  | Reasos for delay
|  |  | Tied Up | Not Tied Up | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14

## CR18- PEDA- Biogas
Sr. No. | Description of ETP | Cap. (MLD) | Status of Funds |  | Baseline (March 19) |  |  |  | Current Progress i.e Date of Completion or likely date of completion |  |  |  | Reasos for delay
|  |  | Tied Up | Not Tied Up | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14

## CR19 -OCMS-Industries
Sr. No. | River | Name of Industry | District | Concerned RO | Cap. (KLD) | Baseline (March 19) |  |  |  | Current Progress i.e Date of Completion or likely date of completion
[6 empty] | Procurment Process | Finalization of Supply orders | Installation of online continuous monitoring system | Commissioning | Procurment Process | Finalization of Supply orders | Installation of online continuous monitoring system | Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14

## CR20- OCMS-CCTV-STPs- MCs-ULBs
Sr. No. | River | Location of STP | District | Concerned RO | Capacity (MLD) | Baseline (March 19) |  |  |  | Current Progress i.e Date of Completion or likely date of completion
[6 empty] | Procurment Process | Finalization of Supply orders | Installation of online continuous monitoring system | Commissioning | Procurment Process | Finalization of Supply orders | Installation of online continuous monitoring system | Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14

## CR21-DRDP-Rural Sullage
Sr. No. | River | No. of Priority I Villages | Total Discharge (MLD) | Tech. | Fund Requirement | Status of Funds |  | Baseline (March 19) |  |  |  | Current Progress i.e Date of Completion or likely date of completion |  |  |  |  | Reason for delay | Responsible Officer
[6 empty] | Tied Up | Not Tied Up | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning | Preparation of DPR | Financial Closure | Tendering | Commencement of work | Completion & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19

## CR22-PPCB- Polluting Industries
Sr. No. | River | District | Concerned RO | Name of Water Polluting Industry | Type of Industry |  |  | Category of Industry |  |  |  | Capacity of ETP | Consented Discharge | Actual Discharge | Member of CETP
[5 empty] | Small | Medium | Large | 17 Polluting | Red | Orange | Green |  |  |  | 15 MLD Bahadur Ke Road, Ldh | 50 MLD Tajpur Road, Ldh | 40 MLD Focal Point, Ldh | 0.5 MLD Phase-VIII, FP, Ldh | 35 KLD Phillaur | 5 MLD at Leather Complex, Jalandhar | 0.2 MLD at Kohara, Ldh.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22

## CR23-DSWC-Irrigation Schemes
Sr. No. | River | Location of STP | Capacity (MLD) | Tech. | Fund Requirement | Status of Funds |  | Baseline (March 19) |  |  |  | Current Progress i.e Date of Completion or likely date of completion |  |  |  | Reason for delay | Responsible Officer
[6 empty] | Tied Up | Not Tied Up | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning | Preparation of DPR | Tendering | Commencement of work | Completion & Commissioning
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18